FIRE EVACUATION PROCEDURE FOR ALL RESIDENTS

In the event of Fire or Smoke detection the Fire Smoke Alarms will Activate and should there be any power loss the Emergency Lighting will Activate.

The following procedure must be strictly adhered to in case of a fire. You will find Fire Exit signs displayed around the Home highlighting the Escape Route:

- Upon hearing the fire alarm, you must evacuate the building immediately using the nearest means of escape exits as detailed below:

DO NOT DELAY BY COLLECTING BELONGINGS

LOCATION OF MEANS OF ESCAPE FIRE EXITS

Fire means of escape exit locations as highlighted in property.

- Front Door

- Rear Garden Door or Patio Door through Kitchen or Dining Areas.

Please do not use the lifts in the event of fire (Where Applicable)

- You must alert the emergency services straight away. DIAL 999 or 112 Emergency Services.

- You must wait at the assembly point (On the Street outside Front of House (if possible) or Very Back of the Garden) while the emergency services arrive.

- Wait for the all clear to be given by Emergency Services before re-entering the building.

FIRE ALARM

A fire detection and alarm system is fitted to this building to help ensure the safe evacuation of people in the event of a fire. It is important that tenants understand their role in the event of an alarm sounding.

- If you discover a fire, sound the alarm and call 999 for the Fire & Rescue Service.

- Unless sounded briefly at the pre-arranged test time, TREAT ALL ALARMS AS AN INDICATION OF FIRE IN THE BUILDING.

- If you suspect you may have activated the alarm, for example by burning toast, check the sensor to see if the red light is on.

- Leave your accommodation promptly along with any guests.

- Close the door to your accommodation but do not lock it.

- Only use any firefighting equipment provided if needed to ensure your safe evacuation.

- Assemble outside the building and account for other residents if possible.

- Unless confirmed by others it has been done, dial 999 for the Fire & Rescue Service.

- Do not silence or reset the alarm unless you are absolutely certain it was activated from a sensor in your own accommodation, and that there is no fire.

- Report all alarm activations to the Manager.

NOTE: It is a criminal offence to tamper with or disable any part of the fire alarm system.

I have read the above

I understand the policy

I hereby acknowledge all of the above

Please sign to say you have read the above fire procedure and understand it.

Resident …………………………………………………………………………

Staff…………………………………………………………………………………

Date……………………………………………………………………………